## Slide 1: Fuel stations Policy
August 2019

## Slide 2: Current policy

## Slide 3: objectives
To establish a policy framework for the location, scale and design of new fuel service stations and their ancillary development with a priority, but not exclusively, for land already committed to industrial development in close proximity to the development zone;
To provide specific additional guidance on the relocation of existing fuel service stations located within the urban area relating to the allowable increase in the number of pumps, the proximity of the new site to the urban settlement of the existing station and the road network;
To set out appropriate design standards for vehicular access and circulation, for both new and relocated service stations;
To identify the prior clearances required from other regulatory agencies to ensure safety of design and operation.

## Slide 4: New/upgrading of fuel stations (Upgrading in lieu of relocation)
Suitable locations
  Designated and Industrial Areas
  SME sites
  Areas of Containment
  Open Storage Areas
  Other areas designated for development in a subsidiary plan for non-residential development or designated or existing uses not contemplating a Social and Community facility or function
  Sites already occupied by fuel stations
  Sites opposite or adjacent to designated industrial areas and Areas of Containment

## Slide 5: New/upgrading of fuel stations (Upgrading in lieu of relocation)
Complementary Facilities in terms of economic sustainability of fuel stations would be encouraged subject to
  planning, environmental, transportation, civil protection, amenity or resource protection constraints
Building height of structure would be determined on a case by case basis with special attention to sites distant from DZ
Sites already occupied by fuel stations existing prior to policy and which are located opposite or adjacent to Industrial Areas or Areas of Containment or outside an appropriate location listed above
  shall have footprint not exceeding committed area or 3,000 sq m (whichever is the larger)
  building height shall not exceed existing building height or 7 m (whichever is the higher)

## Slide 6: New/upgrading of fuel stations (Upgrading in lieu of relocation)
Fuel Stations opposite or adjacent to designated industrial areas or Areas of Containment
  Footprint not exceeding 3,000 sqm
  Height of built structures not exceeding 7 m
Other locations within the DZ or areas designated for Urban Development may be considered subject that MRA deems that they would not have a deleterious impact on existing or planned adjacent uses, conform to National and International standards and maintain adequate distances from existing or planned development
RAs and RPAs not appropriate locations
No other locations ODZ

## Slide 7: Relocated Petrol STations
Suitable locations
  Designated and Industrial Areas
  SME sites
  Areas of Containment
  Open Storage Areas
  Other areas designated for development in a subsidiary plan for non-residential development or designated or existing uses not contemplating a Social and Community facility or function
  Sites already occupied by fuel stations
  Sites opposite or adjacent to designated industrial areas and Areas of Containment
  Sites lying outside areas designated for development but which are legitimately committed for non-agricultural uses through planning permissions
  Disused quarries

## Slide 8: Relocated Petrol STations
No constraint on number of nozzles or ancillary facilities subject to
  visual, transport, amenity and environmental considerations being taken into account and
  to other relevant planning, environmental, transportation, civil protection, amenity or resource protection constraints
Building height established on a case by case basis with special attention to sites distant from designated Development Zones

## Slide 9: Relocated Petrol STations
Other sites may be considered in cases where community would benefit from relocation and where site for relocation does not cause unacceptable adverse environmental concerns (subject to decommissioning agreement)
  Justification on technical and/or planning grounds that there is no feasible or suitable location
  Subject to EIA considerations

## Slide 10: Relocated Petrol STations
  Areas not to be considered are
    Good quality agricultural land
    Areas of High Landscape Sensitivity
    SACs and SPAs
    Site within 50 m from a listed or scheduled site
    Site within 20 m from edge of scheduled buffer zone
    Garigue or maquis
    Designated water-course or valley system

## Slide 11: Relocated Petrol STations
    Designated Area Prone to Flooding
    Site whose perimeter lies within the 183 m from a fireworks factory complex
    Site lying on an escarpment, ridge edge or comparatively steep slope
    Site whose boundaries are closer than 15 m or more than 500 m from DZ
  Proposal should not impinge on areas protected for scenic value or landmark buildings and whose context deserves protection from visual intrusion
  Design considerations to minimise visual impact
  Subject to infrastructural services considerations
  Footprint not exceeding 3,000 sq m
  24 nozzles

## Slide 12: Common siting and other provisions
Not located within 300 m from a groundwater source
Appropriate setback from a Distributor or Arterial Road
Sites posing traffic hazard are not acceptable
Not within 500 m of existing fuel station
Relocated petrol stations are subject to decommissioning provisions including planning permit and decontamination
Access points not located on or close to major junction

## Slide 13: Proposed policy

## Slide 14: objectives
To highlight past, current and future trends in the development of fuel stations,
To review the current situation in terms of the type (kerbside or non-kerbside, ancillary facilities), scale (footprint in square meters) and location (within the Development Zone or ODZ) of existing fuel stations,
To review pending outline applications, full development applications and new submissions for fuel stations,
To consult all related authorities,
To prepare a revised policy framework which takes into account the recommendations by ERA, determine the type and scale of ancillary facilities, the distance between fuel stations which shall reflect current and future needs.

## Slide 15: CONTEXT
Existing fuel stations operating within DZ are creating operational challenges such as
  Incompatibility with context
  Possible access and parking restrictions and issues
  Safety issues
  Severe limitations to upgrading

## Slide 16: Thrust of policy
  Existing fuel stations not subject to operational challenges are not eligible for relocation
  Existing fuel stations located partially or fully ODZ not eligible for relocation
  Redevelopment and change of use of existing petrol stations located partially or fully ODZ not eligible for relocation

## Slide 17: Policies
New Fuel Station shall be relocation of an existing fuel station only
New Fuel Stations shall only be located in one of these locations and subject to environmental, neighbour compatibility, operational, infrastructural and safety considerations
  Designated Industrial Areas
  Small and Medium Enterprise Sites
  Areas of Containment
  Open Storage sites as per Open Storage Policy subject to consultation with competent authorities responsible for environment, health and safety
  Other areas designated for development in the local plan excluding RAs, RPAs, UCAs and where CPD, REWS and TM deem it safe

## Slide 18: policies
  Sites already occupied by permitted fuel stations that currently occupy over 1000 sq m of land and which will relocated to the ODZ shall occupy a maximum footprint of 1000 sq m. Any upgrades shall be limited to statutory and regulatory obligations, ancillary facilities and dispensing facilities for alternative fuels - Sites within DZ have no footprint limit subject to neighbourhood safety and compatibility
  Any other permitted/legally established site ODZ pre 1978
    not related to agriculture and/or animal husbandry,
    which results in a wider environmental benefit and
    is compatible with context of area.
    Total footprint shall not exceed legally committed footprint and not exceed 1000 sq m

## Slide 19: policies
Proposed fuel station shall not be located on
  Agricultural land as defined by the AAC
  AHLV
  Sites, areas designated for nature and landscape conservation under EPA but not limited to SPAs, SACs, Tree Protection Areas etc.
  Scheduled sites or site within 100 m from a scheduled site or within 50 m from the edge of a scheduled buffer zone
  On or adjacent to woodland, garigue or maquis
  Watercourse and valley systems
  Designated area prone to flooding

## Slide 20: policies
Proposed fuel station shall not be located on
    Site whose perimeter lies within the distance stipulated by law from a fireworks factory complex
    Site lying on an escarpment, ridge edge or a comparatively steep slope
    Areas of ecological importance and sites of scientific importance
    Rural/natural areas and protected by any law or policy
    Proposal should not impinge on areas protected for scenic value or landmark buildings and whose context deserves protection from visual intrusion
Station shall be located at a minimum distance of 150 m from perimeter of any public institution or public space or places for vulnerable members of the public including but not limited to schools, hospitals, institutions, playgrounds, recreational areas, churches etc.

## Slide 21: policies
Not located within 300 m from a groundwater source used by WSC for abstraction of groundwater intended for human consumption
Relocated fuel station shall have a footprint not exceeding 1000 sqm unless it lies within
  Designated Industrial Areas
  Small and Medium Enterprise Sites
  Areas of Containment
  Open Storage sites as per Open Storage Policy subject to consultation with competent authorities responsible for environment, health and safety
  Other areas designated for development in the local plan excluding RAs, RPAs, UCAs and where CPD, REWS and TM deem it safe

## Slide 22: policies
Height of resulting structure determined on a case by case basis with special attention to sites distant from designated development zones. In any case not to exceed 7 m.
Innovative design considered on a case by case basis
No constraint on overall number of nozzles provided it does not run counter to planning, environmental, transportation, civil protection, amenity or resource protection constraints.
Unless safe construction and operation considerations dictate otherwise Fuel storage tanks and services shall be located underground with the exception of Autogas storage tanks

## Slide 23: policies
Fast charging stations and sale of alternative fuels shall have an appropriate service area
New stations shall be located on Ten-T core and comprehensive network and arterial and distributory road network
Vehicular access, vehicle movement within service area and suitability of site subject to TM clearance
ERA to be consulted on any fuel station development application and to decide on applicability of EIA regs
Fuel Stations subject to clearance from ERA, EWA, CPD, REWS and OHSA

## Slide 24: policies
Use of groundwater for ancillary facilities is prohibited
Signage will create least possible visual intrusion and light pollution and subject to TM clearance
Planning permit for a relocated existing station will be subject to a planning obligation in the form of a legal agreement related to the decommissioning and subject to a bank guarantee
Fuel stations permitted by this policy and not used for a period of three consecutive years within 30 years from date of issue of permit and/or is not used for its permitted purpose shall be demolished at expense of owner and site returned to its agricultural state. The development permission for the fuel station cannot be construed as a commitment and a new application for any development is to be submitted.
Design should ensure that light pollution is minimised

## Slide 25: Key changes
New Fuel Station shall be relocation of an existing fuel station only
Fuel Stations relocated to ODZ have a 1000 sq m footprint cap
In case of scheduled sites distance has increased from 50 m to 100 m
In case of scheduled buffer zones distance has increased from 20 m to 50 m
Fuel stations permitted by this policy and not used for a period of three consecutive years within 30 years from date of issue of permit and/or is not used for its permitted purpose shall be demolished at expense of owner and site returned to its agricultural state.
Minimum distance of 150m from the perimeter of any public institution or public place or places for vulnerable members of the public